## Slide 1
GLACIAL GLOSS & GLACIAL GLIDE HANDS-ON TRAINING
®
®

## Slide 2: WELCOME TO #GLACIALNATION
REFRESH.
REBALANCE.
RESTORE.

## Slide 3: WHAT TO EXPECT DURING TRAINING
MODULE 1: Patient Selection
MODULE 2: Setting up Your Device
MODULE 3: Pre-treatment
MODULE 4: Getting Comfortable
MODULE 5: Glacial® Gloss Overview: setting up treatment, topicals, treatment step-by-step, before and after photos
MODULE 6: Glacial® Glide Overview: setting up treatment, treatment step-by-step, before and after photos
MODULE 7: Error codes, Cleaning & Routine Maintenance

## Slide 4
MODULE 1:
PATIENT SELECTION

## Slide 5
GLACIAL® SKIN FOR EVERYONE
Suitable for any patient, at any time, on any part of the body.
ALL AGES
SAFE & ENJOYABLE
ALL GENDERS
ALL SKIN TYPES
NO DOWNTIME
REAL RESULTS

## Slide 6
MODULE 2:
Setting Up Your Device

## Slide 7
GETTING TO KNOW YOUR GLACIAL® fx
SINGLE USE TIPS: SMOOTH, TEXTURE, AND BODY TIP.
TREATMENT CARDS
2 TREATMENT OPTIONS
GLACIAL® GLIDE:
A 10-minute extended cooling treatment that will have you feeling relaxed, calmed, and refreshed. Great as an add-on to other treatments to calm the skin.
GLACIAL® GLOSS:
A multistep treatment pairs the benefits of precision cooling and synergistic topicals to deliver radiant, glowing skin.
BACKBAR PRODUCTS
GLACIAL® fx DEVICE

## Slide 8
To open: use a 3mm Allen key to slightly turn the screws (¼ to ½ turn) on the back of the device. The screws stay attached to the panel and do not come out fully.
Seat the base of the umbilical in the open slot on the left.
To attach the black and white wires, plug the white wire into the white port and the black wire into the black port, ensuring a secure connection.
Plug the two hoses into the connectors on the right. A proper connection will create an audible click
The access point for checking and topping off coolant can be found by opening the back panel. The device will display an error when levels are low, but it can be topped off at any time.
Re-attach the device back plate using the 3mm Allen key to tighten screws into a locked position.
Bonus: When not in use, wrap the power cord around the integrated cord wrap hooks and secure the plug end with the Velcro strap.
REMINDER:
Do not power down the system until the initialization process is complete. The ‘System Ready’ page should be visible before powering the system down, or damage to the system could occur.
PREPARE THE SYSTEM FOR USE

## Slide 9
Plug the system power cable into a grounded outlet
Turn on power to the system using the switch on the back of the device
The start screen will appear on the display for either your Glacial® Gloss treatment or Glacial® Glide treatment when you insert the corresponding card into the card reader.
STARTING YOUR GLACIAL® fx
Powering up your system

## Slide 10
MODULE 3:
Pre-Treatment

## Slide 11
The Glacial® Skin Consent Form is customizable and helps to set proper patient expectations.
CONTRAINDICATION: confirmed diagnosis of skin cancer in the treatment area
CONSIDERATIONS: cold-sensitive conditions that could be exacerbated by topical cooling (e.g., cold urticaria, Raynaud’s Disease, cryoglobulinemia), open wounds or infections in the treatment area, or compromised circulation to the extremities.
CONSENT FORM
Consent Form Available on the Provider Portal

## Slide 12
DON’T FORGET TO TAKE BEFORE AND AFTER PHOTOS. FOLLOW THESE KEY TIPS:
Aim for consistent lighting and positioning
Pull back hair
Remove makeup
Remove jewelry
Use high-quality image settings
BEFORE AND AFTER PHOTOS

## Slide 13
MODULE 4:
Getting Comfortable

## Slide 14
There are several ways to position yourself and your device for maximum comfort and agility when treating your client. These are some of the options:
Position the machine either on your dominant or non-dominant side
Use the pigtail to support the cord, or try without it
Hold the handpiece in your dominant hand and hold or support the weight of the cord with your non-dominant hand
Try switching hands when you do the opposite side of the face, or use your dominant hand for both sides
Try sitting or standing position, or adjust the height of your bed
GETTING COMFORTABLE
OVER OR UNDER THE ARM
AROUND THE SHOULDERS
SEATED
MACHINE OPPOSITE SIDE
TRY THIS IF THE HANDPIECE FEELS HEAVY
PUTTING HOSE INTO PIGTAIL
SEATED, TUCKED UNDER THE ARM

## Slide 15
MODULE 5:
Glacial® Gloss Overview

## Slide 16
TREATMENT OPTIONS |
GLACIAL® GLOSS
Uneven Skin Tone
Can be Used in Clients with Acne
Dullness and Uneven Texture
Skin Irritation
Visible Redness
Skin Discoloration

## Slide 17
GLACIAL® SKIN TOPICALS GUIDE
GLACIAL® SKIN PEEL
Chemical exfoliator for increased skin radiance and luminosity
Key ingredients: 8.13% Glycolic + Lactic + Salicylic Acid, Licorice Root Extract and Pomegranate Enzymes.
GLACIAL® SKIN MIST
An alcohol-free mist that hydrates, refines the appearance of pores.
Key ingredients: Lactobacillus, Vitamin C and Palmitoyl Peptides.
GLACIAL® SKIN MASK
Instantly replenishes moisture, soothes, and boosts essential microbiome.
Key ingredients: Aloe Vera, Hyaluronic Acid, Royal Honey and Beta Glucan.
GLACIAL® SKIN MOISTURIZER
Protects skin against pollution, damage, and inflammation, while firming and restoring a healthy barrier.
Key ingredients: Niacinamide, Palmitoyl Peptides, Ceramide, Vitamin C, and Moringa Seed Extract.

## Slide 18
Glacial® Gloss Card
Glacial® Hydro Gel
Smooth Tip and Textured Tip
Silicone Applicator
Cold Water Bowl
Cleanser
Topical Products: Glacial® Skin Peel, Mist, Mask and Moisturizer
Sponges, Non-woven Gauze or a Towel (for product removal)
Headband
Gloves
Hand Towel
SPF
SETTING UP FOR GLACIAL® GLOSS
Set Up for Success

## Slide 19
Insert the​
Glacial® Gloss fx treatment card and touch the check icon.​
​
Apply Glacial® Hydro Gel inside the well of the smooth tip and attach the tip to handpiece.
GLACIAL® GLOSS STEP BY STEP
CLINICAL PEARLS:
Apply products with an application tool i.e., mask brush, or silicone spatula.
When using the smooth tip, treat with constant, continuous, slow, gliding motions. Deliver equal time to treatment areas.
When using a textured tip on the face, start on the cheeks first, treat the forehead last; and assess skin response after each pass.
*Alternatively, Glacial® Mist can be applied with a fan brush directly to the treatment area.
**Adjust the desired exfoliation by reducing hand pressure or adding additional mist.
Apply 3 pumps of Glacial® Skin Peel to cleansed treatment area.​
​
Push the button on the handpiece to start cycle.* ​
​
After cycle, leave Peel on the skin for 5-minutes. Refer to timer.​
​
Remove Peel with water-saturated sponge/non-woven gauze. ​
​
Wipe smooth tip, remove and set aside.
Apply Glacial® Skin Hydro Gel to the textured tip and attach. Direct client to hold their breath and close their eyes as you spray* Glacial® Skin Mist directly on the treatment area. ​
​
Push the button on the handpiece to start cycle.​
​
Perform only two passes over each area. Assess skin response after each pass.**​
​
Apply additional Mist as needed (up to 14 sprays total per treatment.) Wipe the skin with a sponge/non-woven gauze. ​
​
Remove and discard the textured tip.
Add Glacial® Skin Hydro Gel inside the smooth tip and attach the tip to the handpiece.​
​
Apply 3 pumps of
Glacial® Skin Mask to the treatment area.​
​
Push the button on the handpiece to start cycle.* ​
​
After cycle leave Mask on the skin for 5 minutes. Refer to timer. ​
​
Remove Mask with water-saturated sponge/non-woven gauze. ​
​
Wipe smooth tip.​
Add Glacial® Skin Hydro
Gel inside the smooth tip and attach the tip to the handpiece.​
​
Apply 3 pumps of
Glacial® Skin Moisturizer
to the treatment area.​
​
Push the button on the handpiece to start cycle.* ​
​
After cycle leave the Moisturizer on the skin for 5-minutes. Refer to timer. ​
​
Remove Moisturizer with water-saturated sponge/non-woven gauze. ​
​
Discard smooth tip.​

## Slide 20
Apply cleanser to the treatment area (avoid eye area)
Use damp fingers to massage into the skin and cleanse the area
Thoroughly remove with water saturated non-woven gauze, towels or smooth sponges
PREPARE THE SKIN: DOUBLE CLEANSE

## Slide 21
Apply ½ pump of gel into smooth tip
Attach smooth tip to handpiece
Push checkmark to confirm smooth tip attachment
TIP PREPARATION & ATTACHMENT

## Slide 22
Attach the Smooth Tip
Apply 3 pumps of Glacial® Peel with the application tool to the treatment area
Push the handpiece button to start the cooling cycle
Glide over the peel with long, smooth strokes until the cycle is complete
Leave Glacial® Peel on skin for 5 minutes, refer to the timer. This is your opportunity to elevate your treatment. Remember, no massage or heat introduction in the treatment area
Remove peel with cold water saturated gauze, towel, or smooth sponges and wipe the smooth tip with gauze and detach; set aside for later.
STEP 1: GLACIAL® SKIN PEEL
05:00

## Slide 23
GLACIAL® SKIN PEEL
PEEL DISCOMFORT
  Normal: tingling, mild sensation
  Unexpected: painful burning, redness, swelling
  Remove peel & wash thoroughly with cleanser & water & gauze/cotton
  Skip mist + textured or dermabrasion tip exfoliation, proceed to calming mask step.
  End procedure
PATIENT COUNSELING
  If skin turns red, itchy, dry, tight, and or tingling during or immediately following treatment, the patient may be experiencing a histamine response due to contact with an allergen.
  Notify treating clinician
  The clinician will likely advise the patient to use an antihistamine and monitor skin closely
  A clinician may recommend allergy testing for a patient for future avoidance
Discomfort Guidance

## Slide 24
04:00
Add Glacial® Hydro Gel inside the Textured Tip
Apply 4-6 pumps of mist, more as needed*
Push handpiece button to start the cooling cycle
Perform only two straight passes over each area.
Assess skin response after each pass.
STEP 2: GLACIAL® SKIN MIST
Remove and discard the textured tip after completion.
Wipe the skin with a sponge/gauze.
*Spray additional mist as needed, up to 14 sprays total per treatment.

## Slide 25
05:15
STEP 3: GLACIAL® SKIN MASK
Add Glacial® Hydro Gel inside the Smooth Tip
Apply 3 pumps of mask with the application tool to the treatment area
Push the handpiece button to start the cooling cycle
Glide over the mask with long, smooth strokes until the cycle is complete
After cycle leave Glacial® Mask on the skin for 5 minutes. Refer to timer.
Remove Glacial® Mask with water-saturated sponge/non-woven gauze.
Wipe the smooth tip with gauze.
05:00

## Slide 26
03:45
STEP 4: GLACIAL® SKIN MOISTURIZER
Add Glacial® Hydro Gel inside the Smooth Tip
Apply 3 pumps of Glacial® moisturizer with the application tool to the treatment area
Push handpiece button to start the cooling cycle
Glide over the moisturizer with long, smooth strokes until the cycle is complete
After the cycle is complete, leave the product on the skin. Using fingers, quickly massage any remaining Glacial® Moisturizer into the skin.
Discard tip. Treatment Complete.

## Slide 27
GLACIAL® GLOSS & GLACIAL® GLIDE TECHNIQUE PEARLS
Begin the treatment on the chin, using a long, slow sweeping stroke, glide up along the jawline to the temple.
Glide back towards where you started aiming for the corner of the mouth and draw another line right above the first, sweeping up the cheek.
Glide down to the upper lip, and back up to the outer corner of the eye, stacking one long sweeping stroke on top of another, progressively covering the entire cheek area.
When you have covered the nose to under eye area, glide back down along the jawline to begin this pattern again.
Using the chin or temple, glide to your next section without lifting the handpiece.

## Slide 28
GLACIAL® GLOSS & GLACIAL® GLIDE “W” TECHNIQUE
The ‘W” technique is an elegant flow that glides from the chin, around (or over) the lips, onto the nostril and the side of the nose and back. This should be repeated as tolerated by the client, this may be 1-2 times or more.
We don’t want to forget to treat the center of the face which tends to hold much of the heat. The area around the nose and mouth is very vascular and has great circulation, with circulation comes heat.
To allow for more contact time in this area, glide around the face using the long strokes and when you reach the chin every few passes you can add a W or two around the nose and mouth.

## Slide 29
GLACIAL® GLOSS & GLACIAL® GLIDE FOREHEAD TECHNIQUE
The forehead can feel especially cold for some clients, creating large arches using long sweeping passes across the whole forehead, using a little more speed than in the cheeks, can be a more comfortable treatment option.
Smaller arches over one eye at a time can be comfortable if using more speed and remembering not to slow down or dwell in one place.
Snaking or drawing circles while moving from one side of the forehead to the other is often considered the most comfortable option for the thin skin of the forehead, because it keeps your hand constantly moving without overlapping in an area too soon.

## Slide 30
GLACIAL® GLOSS & GLACIAL® GLIDE “GOGGLES” TECHNIQUE
The "Goggles" technique enables you to treat the area around the eyes in a continuous, gliding motion.
Start at the inside corner of the undereye, circle up and around over the eyebrow, dipping between the brows (creating a rounded M shape), up and over the other eyebrow, and then circling into the inner corner of the second eye.
Do the reverse to return to the starting point and repeat.

## Slide 31
GLACIAL® GLOSS SENSITIVE AREAS; LIPS & EYES TECHNIQUE
During the mask dwell time, when the tip is not as cold as during active cooling, we can take advantage of less cold temperatures in more sensitive areas, like on the lips and around the eyes within the orbital bone.
Eyes: move around the eye area gently in the shape of either a letter C or O, depending on the client's facial anatomy.
Take care when gliding around the eyes, not to get product in your client's eye.
Lips: glide in half circles back and forth from the chin, over the lips and back. Alternatively, massage the area using straight lines from the center of the lip outwards, lifting after each line.

## Slide 32
GLACIAL® GLOSS: PACKAGE RECOMMENDATIONS
For the improvement in the appearance of skin tone evenness, radiance, and the reduction of redness and puffiness
Deliver 3 or more treatments depending on: Baseline condition Patient expectations Interim outcomes Treatments every 4 weeks NOTE: To boost efficacy, consider starting with a single Glacial® Gloss treatment followed by Glacial Glide treatments repeated every 1-2 weeks.

## Slide 33
MODULE 6:
Glacial® Glide Overview

## Slide 34
TREATMENT OPTIONS |
GLACIAL® GLIDE
Body
Soothes Aches and Soreness
Clearer Skin
Lymphatic Drainage
Can be Used in Clients with Eczema
Can be Used in Clients with Rosacea

## Slide 35
TREATMENT OPTIONS |
GLACIAL® GLIDE
Post Heat Modalities & Microneedling
Pre Injectables
Post Powered Facials
Post Dermaplaning
PRP Combo
IV Drip Combo
Post Workout
Red Light Combo
Post Massage
PRE, POST & COMBINATION TREATMENTS

## Slide 36
Glacial® Glide Card
Smooth Tip and/or Body Tip
Glacial® Hydro Gel
Topical Product: Glacial® Skin Mask
Silicone Applicator
Cold Water Bowl
Sponges, Non-woven gauze, or a Towel (for product removal)
Headband or Towel Wrap
Gloves
Hand Towel
Cleanser
SPF
SETTING UP FOR GLACIAL® GLIDE

## Slide 37
Post Laser/Heat Based Modalities
Post Microneedling
Post Injection
Post Minor Surgical Procedure
Post Waxing
Post Extractions
Post Injury
Delivered immediately post-treatment
ACUTE:
Treatment following specific event or occurrence.
CHRONIC:
For clients experiencing lifestyle-related or chronic conditions:
Redness
Puffiness
Dullness
SINGLE TREATMENT OR ADD-ON
A SERIES OF TREATMENTS OR ONGOING MAINTENANCE PLAN
GLACIAL® GLIDE TREATMENT
SINGLE VS. SERIES
3 or more treatments; depending on:
      baseline condition
      patient expectations
Mild every 4 weeks
Moderate-severe every 1-2 weeks
Uneven Tone
Sensitivity
Aggressive skincare Acclimation

## Slide 38
Complete boot up before inserting card or attaching tip, holster handpiece untouched to prevent errors.
Insert Glacial® Glide treatment card and touch check icon
Apply Glacial® Hydro Gel inside tip and attach tip to handpiece
Press banner on the home screen to advance to treat screen
Apply 3 pumps
of Glacial® Mask**
to the treatment area
Press the blue button
on the handpiece when ready, begin treating by placing the handpiece on the treatment area
Treat with constant,
slow, gliding motion,
concentrating time
equally across
treatment area
GLACIAL® GLIDE STEP BY STEP
**Purpose of Mask: To facilitate the gliding motion of the handpiece tip on the skin; other products may be substituted.
Additional Notes:
Patient contact must occur within 15 seconds of starting a Glacial® Glide treatment to avoid error
Verify start of treatment by timer count down
Once treatment is activated, apply light pressure, constant motion, slow to moderate speed; do not lift tip off tissue
Treatment may be permanently canceled by pressing the (‘X’) on the display screen
When the treatment is complete, the handpiece beeps and the treatment status indicator blinks yellow
GLACIAL® GLIDE CONSUMABLES:
MASK
SMOOTH TIP
TREATMENT CARD
1
2
3
6
7
5
4

## Slide 39
Glacial® Glide can be done as a stand-alone treatment or in conjunction with other aesthetic treatments
Use constant, smooth, gliding motion
Consider speed of delivery; slow = more cooling, faster = less cooling
Deliver one 10-minute. cycle to the treatment area; focus on areas of concern
Treatment area with small, smooth tip is approximately the size of an open hand; if treatment area is larger, use two cycles or the body tip (treatment area is the size of a standard piece of paper)
Take before and after pictures of the treatment area
GLACIAL® GLIDE TECHNIQUE GUIDE
IN CONJUNCTION WITH OTHER MODALITIES | FOR REDNESS, DRYNESS, SENSITIVE AND AGING SKIN
Single treatment delivered immediately post other aesthetic treatments | Three or more treatments, depending on: Skin wellness Patient expectations Interim outcomes Treat every 2-4 weeks to desired expectations and outcomes Treat every 1-2 weeks to desired expectations and outcomes

## Slide 40
When selected treatments have been completed, remove and discard the single-use tip(s) (they are aluminum and can be recycled)
Upon completion of the application, wipe the treatment area to remove excess product and massage any remaining product in
Wipe your handpiece to remove any treatment residue
Remove your card
If finished with the machine, power down with the switch on the back of the machine. If you have additional treatments, you may leave the machine on; it will go into sleep mode. Please wake the machine and allow 5-7 minutes for the system to reboot cooling before your next treatment.
FINISHING THE GLACIAL® GLIDE TREATMENT

## Slide 41
1. PREPARATION
Have the client lie on their back.
It may be helpful to place a rolled towel under their neck to raise their chin and expose the treatment area
Cleanse the neck area
Apply the Glacial Mask or Moisturizer
AVOID
GLACIAL® GLIDE TREATMENT OPTIONS: NECK
2. NECK TREATMENT (5–7 minutes total)
Position: Begin at the base of the neck, working upward toward the jawline.
Motion & Pressure:
Use linear upward strokes from the clavicle to the jawline on each side of the neck, you may support the skin with a hand placed near the clavicle
Alternate with gentle circular motions around the sternocleidomastoid muscle.
Use medium pressure—firm enough to stimulate circulation but not compressive.
Technique Tips:
Keep the handpiece flat against the skin.
Move slowly and consistently—each upward stroke should last 3–4 seconds.
Avoid treating the thyroid area and the trachea (center of the neck)

## Slide 42
1. PREPARATION
Have the client lie on their back with a bolster under the knees and a wrap or towel draped across the chest for modesty.
Cleanse the neck and chest with a gentle cleanser.
Apply the Glacial Mask or Moisturizer
Smooth Tip or Body Tip
GLACIAL® GLIDE TREATMENT OPTIONS:
CHEST
AVOID
2. CHEST TREATMENT (5-10 minutes)
Position: Begin at the center of the chest, just below the collarbones, and work outward in horizontal lines.
Motion & Pressure:
Use horizontal strokes, gliding outward from sternum to shoulders, in stacked rows across the upper chest.
Repeat small circular motions over areas of concern (e.g., sun damage, redness, or crepiness).
Maintain medium, even pressure, lifting or gliding between rows.
Technique Tips:
Use one hand to stabilize tissue if necessary.
Ensure symmetrical application across both sides.

## Slide 43
PREPARATION
Cleanse the treatment area if pretreating, with a gentle cleanser or wipe with alcohol.
Apply Glacial Mask or Moisturizer, or create a slip with sterile saline or ultrasound gel
GLACIAL® GLIDE TREATMENT OPTIONS: PRE-TREATMENT
2. PRE-TREATMENT ADD ON (5–10 minutes total)
Motion & Pressure:
Use the facial glide movements or concentric circles if treating the face, or the appropriate body technique for the treatment area being addressed
Use medium pressure— allow the weight of the handpiece and the gliding motion to create the pressure

## Slide 44
1. PREPARATION
If treating the face, have the client lie on their back in a comfortable position.
If treating elsewhere on the body, position the client so they are comfortable, and the treatment area is flat and positioned where the practitioner can reach with the handpiece
Apply an appropriate post-procedure mask or sheet to the affected skin. Bio-cellulose masks work well and provide a gentle glide over compromised skin
GLACIAL® GLIDE TREATMENT OPTIONS: POST-TREATMENT
2. POST TREATMENT ADD ON
(5–10 minutes total)
Position: gently begin the treatment by starting in the area of concern, you can focus your time in this area or treat the full face or body part being addressed.
Motion & Pressure:
Use the facial glide movements if treating the face or the appropriate body technique for the treatment area being addressed
Use light pressure—use only the weight of the handpiece
Technique Tips:
Keep the handpiece flat against the skin.
Move slowly and consistently

## Slide 45
BENEFITS OF COLD POST-TREATMENTS
TREATMENT | Post-Laser (controlled damage to stimulate skin regeneration) | Post-Microneedling (creates tiny controlled injuries to stimulate collagen) | Post-Radiofrequency (heats the skin to stimulate collagen production)
CALMS THE SKIN | Cold therapy removes excess heat, reducing prolonged redness and swelling early, ensuring it doesn’t persist and affect results. | Promotes faster recovery, keeping the healing process on track. | Cold therapy reduces skin irritation, accelerating skin recovery
PROVIDES IMMEDIATE RELIEF | Cold therapy slows nerve signal transmission, offering instant relief from burning and stinging sensations. | Soothes irritation, reducing discomfort from microneedling punctures. Minimizes redness right after treatment. | Cold reduces the heat-induced discomfort, making recovery more comfortable.
PROTECTS SKIN & ACCELERATES HEALING | Cold therapy constricts blood vessels, reducing damage from inflammation and speeding up skin recovery. | Cold therapy prevents an exaggerated immune response and promotes efficient healing. | Cold reduces heat-related damage, reduces swelling and downtime, and promotes faster healing.
ENHANCES RESULTS | Optimizes results by reducing downtime and supporting a more even skin tone and texture. | Minimizes post-treatment swelling and irritation leading to more radiant, healthy skin and better overall outcomes. | Promotes optimal healing for more noticeable, long-lasting results.

## Slide 46
There is no evidence that supports a reduction in the healing response or clinical results due to application of cold.
The controlled injury (desired effect) occurs at the time of energy delivery
Excess heat trapped in the skin creates unnecessary discomfort, elongating the social downtime and recovery
COMBINATION TREATMENT MYTH-BUSTING
Will adding cold suppress results?

## Slide 47
MODULE 7:
After Treatment

## Slide 48
Baseline
2DFU
7DFU
1MFU
2MFU
*Results may vary
UNDERSTANDING THE PROCESS
Glacial® Gloss Treatment

## Slide 49
Potential Side-Effects of Cooling Treatment | Average Duration (results will vary; may take longer for some patients)
Transient Redness and Sensitivity | 1 – 3 days
Mild Skin Irritation | 1 – 3 days
R2-16-001 Interim Report: Evaluation of a New Dermal Cryotherapy System for the Treatment of Benign Pigmented Lesions
  Glacial® Gloss and Glacial® Glide Cooling Treatments
POTENTIAL SIDE-EFFECTS

## Slide 50
Potential Side-Effects of Glacial® Gloss fx with Topicals | Average Duration (results will vary; may take longer for some patients)
Transient Redness and Sensitivity | 1 – 3 days
Skin Sensitivity to Sun Exposure | 1 to 10 days
Mild Skin Irritation | 1 – 7 days
Temporary Skin Dryness | 1 – 7 days
Temporary Skin Purging/Acne Breakout | 1 – 14 days
R2-16-001 Interim Report: Evaluation of a New Dermal Cryotherapy System for the Treatment of Benign Pigmented Lesions
  Glacial® Gloss Treatment with Topicals
POTENTIAL SIDE-EFFECTS

## Slide 51
Helps to set proper patient expectations for post-treatment care. Provides clear instructions for product use on post-procedure skin.
TAKE HOME INSTRUCTIONS: GLACIAL® GLOSS
Find the take-home Instructions on the provider Portal.

## Slide 52
WHY TAKE THEM
Improve satisfaction by showing patient their own improvement
Cover practice legally by documenting the skin condition at baseline
Generate new patients by developing a photobook highlighting the results YOU deliver
  Showcase patient outcomes in follow-up visits
  Set realistic expectations for future patients
BEFORE AND AFTER PHOTOS IMPORTANCE
Find the Before and After Guide on the Provider Portal.

## Slide 53
MODULE 8:
Error Codes, Cleaning & Routine Maintenance

## Slide 54
Don’t panic! Glacial® Skin offers 24/7 customer service support
Customer Service: support@r2technologies.com or call our team toll-free at 833-4-GLACIAL (833-445-2242)
A list of Symptoms and their possible resolutions are listed on page 12 of the Instructions for Use Packet that came with your device or available digitally.
A list of System Alerts and their possible resolutions are listed on page 13 of the Instructions for Use Packet that came with your device.
To pull logs from your device to help our team assist you, open the back of the device, insert a USB flash drive into the port, and then hit the flashing checkmark button. Insert the flash drive into your computer and send the downloaded file to support@r2technologies.com
SYSTEM ERRORS & TROUBLESHOOTING

## Slide 55
Common errors can easily be resolved by simple troubleshooting
Generally, after the error is cleared, treatment can be continued
If an error cannot be resolved, refer to the Instructions for Use (IFU) or call Technical Support
ERRORS CODES RESOLUTIONS
AFTER TROUBLESHOOTING, PUSH CHECKMARK TO CLEAR ERROR.

## Slide 56
OPERATION ERRORS
CARD ERRORS
USER ERRORS
SERVICEABLE ERRORS
CHILLER ERRORS
FIELD SOLVABLE ERRORS
HANDPIECE
ERRORS

## Slide 57
RECOVERABLE: Click the checkmark. The system will reset and can often run normally after.
NON-RECOVERABLE: Try clicking the checkmark. If the system continues to fail with the same error code, we have a persistent issue.
H CODE – Handpiece errors
R CODE – Console errors
S CODE – General system errors
T CODE – TEC errors
SYSTEM ERRORS

## Slide 58
Add chiller fluid (Bottle labeled: Koolance) until it reaches the “X” on the chiller tank
Push the check mark on the Touchscreen to clear the error
LOW CHILLER FLUID
Chiller Fluid Fill
SYSTEM ERRORS

## Slide 59
Ensure all Handpiece cables are firmly attached
Push the check mark on the Touchscreen to clear the error
Handpiece Not Attached
SYSTEM ERRORS
NO HANDPIECE DETECTED

## Slide 60
No cycles remaining on card
Replace with new card
B1: Cannot read card/does not match region ID
Replace with New Card
Console error
Call technical support
C8: Chiller error; cannot cool; insufficient airflow;
Clean Vent/Filter
Common Errors and Resolutions
SYSTEM ERRORS

## Slide 61
If low temperature chiller fluid is suspected, please turn off the system and reboot.
Push check mark on the Touchscreen to clear the error
IMPORTANT: Do not contact the skin during precool error: Occurs if the handpiece contact plate is not in free air during the entire precool period.
Precool timed out, please press the accept button to reinitiate a Freeze treatment.
Low chiller fluid temperature (additional time may be needed to bring system to normal operating temperature.)
Low low-temperature chiller fluid is suspected. Please turn off the system and reboot.
Precool and Chiller Errors
SYSTEM ERRORS

## Slide 62
The handpiece contact plate and the surrounding plastic face plate – clean with cotton swab moistened with isopropyl alcohol, mild detergent, and water, or PDI Sani Cloth Plus wipes after each use
Thoroughly inspect the handpiece contact plate and surrounding plastic parts for residual contaminants and/or any damaged/cracked surfaces, including pitting. Remove visible residual contaminants, if any. Do not use if damage is noted.
The control unit and cables should be wiped down as needed.
The other components require minimal or no daily maintenance
*** DO NOT immerse any of the components in cleaning fluid or disinfectant. Doing so will damage the system!***
DEVICE CLEANING

## Slide 63
TOP OFF COOLANT: open the back of the device, unscrew the cap to the coolant chamber, pour additional coolant in, replace cap and close the backing. Expect to top off every 1-3 months depending on usage.
ROUTINE MAINTENANCE
Maintenance of the system is minimal
CHANGING AIR FILTER: Locate the air filter handles at the rear of the device, slide each air filter straight out, gently wipe away any accumulated dust or debris, slide each air filter back into the air filter slot until the filter clicks into place. (*Filters are interchangeable left to right)
REPLACE THE POWER ENTRY MODULE FUSE: shut down the system and disconnect from main power, locate the fuse holders on the control unit by the on/off switch (marked on label), slide the fuse holders straight out from the power entry module.

## Slide 64
STEP 1
STEP 2
STEP 3
STEP 4
STEP 5
MONTHLY LOG PULLS
Purpose: Monthly maintenance system and software check
Send the log file to R2 Technologies at support@r2technologies.com

## Slide 65
EMAIL: support@r2technologies.com
PHONE: 833-4-GLACIA(L) (833-445-2242)
TECHNICAL SUPPORT: 24 / 7 / 365
TRAINING & SUPPORT RESOURCES: glacialskin.com and the Provider Portal
SALES OPERATIONS R2 CUSTOMER CARE
ACCESS PROVIDER PORTAL >